# CHAPTER 5: CONFORMAL PREDICTION, MC DROPOUT, K-FOLD CV, AND OOD DETECTION (PHASE 2)

This chapter implements the second research question of the thesis: what is the most useful uncertainty signal for selective prediction and out-of-distribution detection, and can a conformal-prediction wrapper provide a finite-sample coverage guarantee? Section 5.1 reports split conformal prediction with both LAC and APS scores at α = 0.10 and α = 0.05. Section 5.2 covers Monte Carlo Dropout. Section 5.3 reports out-of-distribution detection results. Section 5.4 presents the 5-fold cross-validation of ResNet50. Section 5.5 summarises the lessons of Phase 2.

## 5.1 Split Conformal Prediction

### 5.1.1 Setup

The validation set (550 images) is used as the conformal calibration set. Two scoring rules — LAC and APS — and two coverage targets — α = 0.10 and α = 0.05 — give four configurations per model. The non-conformity threshold q is computed with the finite-sample correction ⌈(n+1)(1−α)⌉/n, using np.quantile(..., method='higher').

### 5.1.2 Per-Model Coverage at α = 0.10

Table 5.1. Conformal prediction at α = 0.10 (target 90% coverage). Coverage is the fraction of test points whose true label falls inside the conformal set; mean size is the average |C(x)|. Singleton correct rate is the accuracy among test points whose set has size 1; abstain rate is the fraction of two-class sets {0, 1}; empty rate is the fraction of empty sets.

| Model | Score | Coverage | Mean size | Singleton correct | Abstain {0,1} | Empty {} |
| --- | --- | --- | --- | --- | --- | --- |
| ResNet50 | LAC | 90.36% | 0.93 | 97.45% | 0.0% | 7.3% |
| ResNet50 | APS | 88.73% | 0.96 | 96.67% | 4.4% | 8.4% |
| Xception | LAC | 92.55% | 0.95 | 97.32% | 0.0% | 4.9% |
| Xception | APS | 88.36% | 0.97 | 96.41% | 5.5% | 8.5% |
| DenseNet121 | LAC | 89.09% | 0.91 | 97.61% | 0.0% | 8.7% |
| DenseNet121 | APS | 88.36% | 0.97 | 96.79% | 6.0% | 8.9% |
| VGG16 | LAC | 91.27% | 0.93 | 98.05% | 0.0% | 6.9% |
| VGG16 | APS | 89.27% | 0.96 | 97.09% | 4.4% | 8.2% |
| CNN | LAC | 91.82% | 0.95 | 96.74% | 0.0% | 5.1% |
| CNN | APS | 89.09% | 0.98 | 96.43% | 5.6% | 7.8% |
| CNN (T+R) | LAC | 90.73% | 0.96 | 94.69% | 0.0% | 4.2% |
| CNN (T+R) | APS | 90.55% | 1.05 | 94.48% | 9.6% | 4.7% |
| Ensemble | LAC | 90.55% | 0.93 | 97.84% | 0.0% | 7.5% |
| Ensemble | APS | 87.27% | 0.95 | 97.19% | 5.5% | 10.4% |

Several patterns are visible in the table.

Coverage tracks the target. Every method lands at 87% to 93% empirical coverage, on either side of the 90% target. This empirically validates the conformal procedure: the prescribed coverage rate is honoured, even though no model is perfectly calibrated.

LAC produces no abstain sets but admits empty sets. In binary LAC, the prediction set contains a class iff 1−py≤q. Since this condition is symmetric in y, sets of size 2 only occur when both 1−p and p are below q, which happens when the prediction is in the middle of the probability range. Empty sets occur when both are above the threshold, i.e., when neither class meets the inclusion criterion — the model expresses no opinion. LAC produces 4 to 9% empty sets and 0% two-class sets.

APS produces fewer empty sets and more abstain sets. APS adds randomised tie-breaking, which causes more sets of size 2 (4 to 10%) and fewer empty sets (8 to 9%). For clinical use, two-class sets are more useful than empty sets — they say "the answer is one of these two" rather than "I have no opinion".

VGG16 + LAC has the highest singleton correct rate (98.05%). When the prediction set is a single class, VGG16 is correct 98% of the time. This is materially better than the ensemble (97.84%) and substantially better than the worst model (CNN(T+R) at 94.69%).

The ensemble's empty-set rate (7.5% LAC, 10.4% APS) is high. Disagreement among the six members forces conformal to abstain. This is consistent with the observation in Chapter 4 that the ensemble is more conservative than any single model.

### 5.1.3 Per-Model Coverage at α = 0.05

Table 5.2. Conformal prediction at α = 0.05 (target 95% coverage). Selected rows; full table at master/results/phase2/conformal_results.csv.

| Model | Score | Coverage | Mean size | Singleton correct | Abstain | Empty |
| --- | --- | --- | --- | --- | --- | --- |
| Xception | LAC | 95.64% | 1.00 | 95.64% | 0.0% | 0.0% |
| CNN | LAC | 96.00% | 1.00 | 96.00% | 0.0% | 0.0% |
| Ensemble | LAC | 95.27% | 0.97 | 97.76% | 0.0% | 2.5% |
| Ensemble | APS | 95.64% | 1.10 | 97.87% | 12.2% | 2.5% |
| CNN (T+R) | APS | 94.73% | 1.21 | 95.23% | 22.2% | 1.6% |

At target 95%, the CNN with LAC achieves 96.0% empirical coverage with mean set size exactly 1.00 and zero abstentions. Every test point gets a single-class decision, and the conformal calibration finds a clean threshold under which the marginal coverage guarantee is honoured. Xception with LAC is similarly well-behaved.

The Ensemble at α = 0.05 is interesting: APS coverage is 95.64% with 12% of cases assigned a two-class set (clinically meaningful "refer for further review"). This may be the most clinically useful single configuration in the binary problem: 88% of cases auto-classified, 12% deferred, no empty sets.

### 5.1.4 Interpretation for Clinical Workflow

Conformal prediction transforms a point classifier into a set classifier with a statistically grounded refer-to-clinician rule. A set of size 1 is a confident verdict. A set of size 2 (in binary) means the system explicitly cannot decide. An empty set, when it occurs, indicates either an outlier input or a calibration mismatch and should also trigger human review.

For the screening setting envisaged in this thesis, the most appropriate configuration is APS at α = 0.10 with the ensemble or with VGG16: empirical coverage of approximately 90%, single-class verdicts for ~85% of cases, two-class "refer" sets for ~5%, and empty sets for ~10% (which we conservatively also refer). This gives the clinician a reliable triage signal that maps onto the existing referral workflow.

## 5.2 Monte Carlo Dropout

### 5.2.1 Architectures and Training

Two MC Dropout networks were trained with the same Phase 1 pipeline plus dropout layers:

- cnn_mcd: 3-block CNN with SpatialDropout2D(0.3) after each conv-pool pair and Dropout(0.3) before the classifier.

- resnet50_mcd: ResNet50 transfer learning with Dropout(0.3) before the dense head, base frozen.

Training stopped via early stopping at epoch ~35 for cnn_mcd and ~50 for resnet50_mcd.

### 5.2.2 Inference and Aggregation

At inference, T = 30 stochastic forward passes are performed per test image with training=True so that dropout remains active. The per-pass probabilities are aggregated into mean, standard deviation, predictive entropy, mean per-pass entropy, and mutual information.

Table 5.3. MC Dropout results on the 550-image test set.

| Model | Det. acc | Det. AUC | Det. ECE | MC acc | MC AUC | MC ECE | Mean σ correct | Mean σ wrong |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| cnn_mcd | 90.73% | 0.9675 | 0.0363 | 91.09% | 0.9677 | 0.0387 | 0.044 | 0.072 |
| resnet50_mcd | 96.18% | 0.9891 | 0.0204 | 96.18% | 0.9882 | 0.0243 | 0.043 | 0.130 |

Three observations follow.

MC averaging gives a small accuracy bump for cnn_mcd (+0.36 pp from 90.73% deterministic to 91.09% MC). The randomised network is essentially an ensemble of many sub-networks; averaging T draws stabilises the prediction. For resnet50_mcd, the deterministic and MC accuracies coincide.

The σ signal is clearly informative. On wrong predictions, the average MC standard deviation is 3 to 4 times larger than on correct predictions (0.130 vs 0.043 for resnet50_mcd). This means that high σ flags inputs that the system gets wrong — exactly the property needed for a refer-to-clinician decision.

resnet50_mcd is the strongest single model in the thesis at 96.18% test accuracy, narrowly exceeding the non-dropout ResNet50 (95.27%) and matching or beating every other architecture from Chapter 4. The dropout in the head acts as effective regularisation on this small dataset.

### 5.2.3 Risk-Coverage with MC Signals

For resnet50_mcd:

- Predictive entropy at 90% coverage → 97.78% selective accuracy.

- Predictive entropy at 50% coverage → 99.27%.

For cnn_mcd:

- Predictive entropy at 90% coverage → 94.34%.

- Predictive entropy at 50% coverage → 98.91%.

resnet50_mcd dominates: at 50% coverage (the most-confident half of the test set), accuracy is 99.27% — clinical-grade precision while deferring half the cases to human review. This is the strongest selective-prediction result in the thesis.

## 5.3 Out-of-Distribution Detection

### 5.3.1 Setup

In-distribution (ID) inputs are the 550 fundus images of the test set. Out-of-distribution (OOD) inputs are 300 synthetic images of uniform random noise, preprocessed identically to the ID images. DenseNet121 (ImageNet-pretrained, frozen) is used both as the classifier and as the 1024-dim feature extractor for distance-based methods. Per-class means and a shared covariance for Mahalanobis are fitted on the validation set.

### 5.3.2 Results

Table 5.4. OOD detection metrics. AUROC is the area under the ROC curve for ID-vs-OOD separation; FPR @ TPR=95% is the false-positive rate among ID inputs when 95% of OOD inputs are correctly flagged.

| Method | AUROC (ID vs OOD) | FPR @ TPR=95% | Verdict |
| --- | --- | --- | --- |
| Maximum Softmax Probability | 0.589 | 29.6% | Fails — softmax over-confidence on noise |
| Energy score | 0.787 | 14.0% | Useful, not perfect |
| Mahalanobis distance | 1.000 | 0.0% | Perfect separation |
| Cosine to ID centroid | 1.000 | 0.0% | Perfect separation |

Several conclusions follow.

Output-space methods (MSP) fail. The classifier produces high-confidence predictions even on uniform-noise inputs because the dense head cannot help but produce some probability. MSP is therefore close to chance.

Energy is useful but not perfect. The unbounded log-sum-exp avoids softmax saturation and pushes ID and OOD distributions apart, but the separation is not complete.

Feature-space methods are perfect for noise OOD. Random pixels produce CNN features that are very far from the manifold of fundus images in feature space. Mahalanobis distance and cosine distance to the centroid both achieve AUROC = 1.0 with zero false alarms at TPR = 95%.

### 5.3.3 Caveats

Synthetic uniform noise is the easy case for OOD detection. Real-world OOD inputs — chest X-rays, fundus images from a different camera, low-quality phone photos — would lie much closer to the training manifold and would likely yield AUROC values in the 0.80 to 0.95 range. A proper cross-dataset evaluation on Messidor-2 or IDRiD is therefore left as future work; the infrastructure to run it is in place (master/run_cross_dataset.py). The present synthetic-OOD result confirms that the feature-space approach can detect distribution shift in principle, but the magnitude of the effect on real OOD remains to be quantified.

## 5.4 K-Fold Cross-Validation of ResNet50

### 5.4.1 Motivation

Phase 1 reported a single test estimate of 95.27% for ResNet50, with bootstrap CI [93.45, 97.09]. Two questions remained: how stable is this estimate across different training runs, and how confident can we be that the ensemble's 96.55% is materially different from ResNet50's 95.27%?

### 5.4.2 Protocol

ResNet50 is retrained 5 times on stratified folds of the 3,112-sample train+val pool, with the test set held fixed at 550 images. Each fold trains for up to 30 epochs with early stopping (patience = 6).

### 5.4.3 Per-Fold Results

Table 5.5. ResNet50 5-fold cross-validation. Each row is one fold; the test set is identical across folds.

| Fold | Epochs | Best val acc | Test acc | Test AUC | Train time |
| --- | --- | --- | --- | --- | --- |
| 1 | 8 | 95.99% | 95.82% | 0.9867 | 8.5 min |
| 2 | 21 | 97.11% | 95.82% | 0.9882 | 25 min |
| 3 | 22 | 98.07% | 95.45% | 0.9898 | 39 min |
| 4 | 15 | 97.75% | 95.64% | 0.9903 | 16 min |
| 5 | 25 | 97.59% | 95.45% | 0.9900 | 30 min |

### 5.4.4 Aggregate

- Test accuracy: 95.64% ± 0.18 percentage points (95% CI [95.48, 95.79]).

- Test AUC: 0.9890 ± 0.0015.

- Best validation accuracy: 97.30% ± 0.81 pp.

### 5.4.5 Interpretation

Test accuracy is exceptionally stable. The standard deviation across 5 retrainings is only 0.18 pp — far smaller than the bootstrap CI half-width of 1.8 pp from a single fold. This means that the variance in the Phase 1 estimate is dominated by the test sample rather than by training stochasticity. The Phase 1 single-split estimate of 95.27% is well within the 95% CI of the cross-validated mean (95.48 to 95.79); it is a representative sample, not a particularly lucky or unlucky one.

Validation accuracy varies more. Best val accuracy has σ = 0.81 pp because validation sets are small (~550 each) and depend on the fold split. Test acc, computed on the same fixed 550-sample test set across folds, is more stable.

Resolving the ensemble-vs-ResNet50 question. The ensemble's 96.55% is approximately 5 standard deviations above the ResNet50 mean of 95.64%. While the McNemar test in Chapter 4 was borderline (p = 0.10) due to limited test points, the cross-validated comparison strongly supports the conclusion that the ensemble is genuinely better, not a statistical artifact of a single split.

## 5.5 Lessons from Phase 2

Phase 2 yields four substantive conclusions.

First, conformal prediction is essentially a free addition to any trained classifier. It requires only a calibration set, no retraining, and produces a statistically grounded refer-to-clinician rule. The CNN at α = 0.05 with LAC achieves 96% coverage with no abstentions and no empty sets — a near-ideal configuration for clinical deployment.

Second, MC Dropout is the cheapest Bayesian approximation available. It requires retraining with dropout layers — no architectural overhaul beyond inserting Dropout and SpatialDropout2D — and at inference it costs T forward passes per input. The σ across MC samples is 3 to 4× larger on wrong predictions than on correct ones, providing a useful selective-prediction signal. resnet50_mcd is the strongest single model in the thesis at 96.18%.

Third, K-fold cross-validation costs significant compute (5 trainings of ResNet50 ≈ 2 hours on CPU) but pins down the variance of the test estimate to a tight σ = 0.18 pp. The single-split estimate is reliable; the ensemble's small accuracy advantage is real.

Fourth, OOD evaluation against synthetic noise is too easy. The feature-space methods achieve perfect AUROC on uniform noise, which is encouraging in principle but does not prove that they will work against real cross-dataset shift. A dedicated cross-dataset study on Messidor-2 or IDRiD is the natural next step.

Phase 2 thus closes Research Questions 2 and 3 with strong empirical support. The next chapter turns to Research Question 4: extending the same uncertainty machinery to the clinically meaningful 5-stage grading task.